## Sheet1
item no. | description | quantity
power layout
1 | single socket | 24
2 | double socket | 43
3 | single ups socket | 4
4 | weatherproof single socket | 10
5 | distribution panel | 3
6 | pvc conduit d=20mm
7 | Cu Cable 2.5 mm2
power for mechanical power
8 | AC & CU | 12
9 | Water heater | 11
10 | Electrical Outlet | 3
11 | switch disconnector | 23
12 | garage door motor | 1
13 | water pump | 1
14 | boiler | 1
15 | hood | 3
fire alarm system
16 | Smoke Detector | 18
17 | Heat detector | 7
18 | pull station | 3
19 | Horn with Strobe Ligh | 3
20 | fire alarm panel | 1
curtains & shutters
21 | Curtain Outlet | 8
22 | Rolling Shutter Outlet | 15
23 | Up & Down Switch | 24
24 | Distribution Panel | 3
25 | Cu cable 1.5 mm2
26 | Cu cable 4 mm2
27 | Cu cable 6 mm2
28 | PVC conduit d=20 mm
lighting system
29 | ceiling lighting outlet | 35
30 | ceiling lighting outlet,weatherproof | 8
31 | ceiling lighting outlet-2return | 1
32 | wall lighting outlet , weatherproof | 17
33 | chandelier | 3
34 | Floor mounted Lighting outlet | 16
35 | switch one way ,one gange | 20
36 | switch one way ,two gange | 2
37 | switch two way,one gange | 34
38 | intermediate switch | 7
39 | Distrubion panel | 3
Low current system
40 | telephone outlet | 4
41 | data outlet | 12
42 | data cabinet | 1
43 | data outlet for wifi | 5
videophone system
44 | main videophone panel | 1
45 | entry control panel | 1
46 | videophone monitor | 3
47 | audio handset | 3
intrusion system
48 | motion detector | 14
49 | keypad | 2
50 | horn with strobe light | 4
51 | intrusion panel IP | 1
52 | UPS distribution panel | 1
53 | Main distribution panel | 1